| Office of Health Care Quality Long Term Care - Special Care Unit Respiratory Care Unit Surveyor Worksheet COMAR 10.07.02.23 Special Care Units – General COMAR 10.07.02.24 Special Care Units – Respiratory Care Unit |  |  |
| --- | --- | --- |
| Health and Safety |  |  |
| A. General Requirements | Met | Not Met |
| - Description and scope of services to be provided in the RCU - Organization chart of the RCU and its relationship to the NH |  |  |
| B. Design and Physical Plant | Met | Not Met |
| - Approval letter, Office of Facilities Management and Development - Meets the general construction requirements of .08, .42, and .41 - Floor space allocated to each bed meets minimum requirements in .49 - Floor space is sufficient to accommodate special equipment - Inventory of specialized equipment to be housed on the RCU |  |  |
| C. Emergency Preparedness | Met | Not Met |
| - Approval letter from local EMS - verifies nursing home notification of new RCU - Verification letter from hospitals – verifies nursing home notification of new RCU - Protocols for emergency situations - Each ventilator has an alarm on pressure valve and volume valve |  |  |
| D. Quality Assurance Plan | Met | Not Met |
| - Assign responsibility for monitoring and evaluation activities - Identify the predominant aspects of care provided - Identify indicators and appropriate clinical criteria for monitoring the most important aspects of care - Establish thresholds (levels or trends) for the indicators that will trigger evaluation of care - Monitor important aspects of care by collecting and organize data for each indicator - Evaluate care when thresholds are reached in order to identify opportunities to improve either care or problems - Take actions to improve care or to correct the problems - Assess the effectiveness of the actions, document improvement in care, and assess the quality assurance process - Communicate results of the monitoring and evaluate the process to relevant individuals or services - RCU QA plan is part of nursing home’s overall QAPI |  |  |
| E. Policies and Procedures | Met | Not Met |
| - Transfer or referral of residents who need services not provided in RCU - Administration of medications relevant to RCU residents - Infection control measures to minimize transfer of infection in the RCU - Safety practices, including control of fire and mechanical hazards - Preventive maintenance for equipment in the special care unit - Weaning from mechanical ventilatory support and discharge planning - Procurement, handling, storage, and dispensing of medical gases |  |  |
| F. Staffing | Met | Not Met |
| - Description of staffing patterns - Ensure RCU is sufficiently staffed with qualified personnel to provide appropriate treatment and meet the care needs of the residents - Description of the qualifications, duties, and responsibilities of staff, including the staff who are permitted to perform: - Cardiopulmonary resuscitation - Obtaining arterial blood gas samples and their analyses - Pulmonary function testing - Therapeutic chest percussion and vibration - Bronchopulmonary drainage - Coughing and breathing exercises - Mechanical ventilatory and oxygenation support for residents - Aerosol, humidification, and medical gas administration |  |  |
| G. Nursing Services | Met | Not Met |
| - DON or nurse manager has a background in ventilator care or is qualified in ventilator management - DON designated an RN who has education, training, and experience in caring for resident needs and coordinates all RCU nursing care - Nursing staff are knowledgeable about the emotional and rehabilitative aspects of the RCU residents - Nurses are capable of initiating appropriate therapeutic interventions when needed |  |  |
| H. Physician Coordinator | Met | Not Met |
| If the nursing home medical director does not have special training and experience in diagnosing, treating, and assessing respiratory problems, the nursing home shall employ or contract with a board-certified pulmonologist who has the special knowledge and experience to provide: - Overall medical supervision of the RCU - Coordination of all services for the RCU - Nursing home verified the candidate's credentials before employment - Physician coordinator or designee shall respond personally or arrange for another qualified physician to respond to situations warranting medical intervention; and be available to provide any required consultation |  |  |
| I. Respiratory Services | Met | Not Met |
| - Provided by a sufficient number of qualified personnel - Respiratory care personnel provide services commensurate with their documented training, experience, and competence |  |  |
| J. Contractual Services | Met | Not Met |
| - Nursing home approves outside contractors based on the contractor's credentials, training, and experience - Ensures all contractors: - Provide services 24 hours a day - Meet all safety requirements - Abide by all pertinent nursing home policies and procedures - Provide services in accordance with all nursing home laws and regulations - Participate in monitoring and evaluation the appropriateness of services as required by the NH’s QAPI - Ensure all contractual services receive overall medical supervision and coordination by the physician coordinator of the RCU |  |  |
| K. Other Services | Met | Not Met |
| - Diagnostic radiologic and clinical lab services are available 24 hours a day (may be contractual) - Provide pulmonary function testing and blood gas or pulse analysis capability on-site or through contractual arrangements - Protocols for obtaining specialized services, such as ABG or STAT labs |  |  |
| Life Safety Code |  |  |
| L. Piped Medical Gas System | Met | Not Met |
| - Vendor or staff may provide installation, inspection, or testing - All piped medical gas systems adhere to NFPA 99 Health Care Facilities Code and NFPA 101 Life Safety Code - To service the medical gas systems, a vendor or staff shall be trained and accredited in accordance with NFPA 99 Health Care Facilities Code |  |  |
| M. Emergency Electrical Power | Met | Not Met |
| - Emergency electrical power meets requirements in .46 - Emergency lighting in the RCU where life support equipment is used - Duplex receptacles connected to emergency generator to operate life support equipment and nonflammable medical gas systems in the RCU |  |  |
| Comments: |  |  |